
[image: image1.wmf]5289 NE Elam Young Parkway

Suite G-950

Hillsboro, Oregon 97124-6431

NORTHWEST

ENVIRONMENTAL

503.844.4100

503.844.3800 FAX

Northwest Environmental Test Lab

Shock Machine Mounting Hole Layout

All Holes are 6.0 inches on center

All Inserts are 3/8 X 16 National Coarse

LLC

TEST LAB

37.0 inches

45.0 inches



_1054735937.unknown

